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      GOVT COLLEGE UNIVERSITY FAISALABAD
(Directorate of Procurement & Inventory Control)
TENDER NOTICE 

TENDER NO. 192
                            Sealed Tenders are invited from reputed firms / suppliers which are registered with Sales Tax and Income Tax Departments for the supply of LAB EQUIPMENTS for                         Chemistry  Department to be delivered at GC University Faisalabad. Tender documents can be obtained from the office of the undersigned from  27-04-2012 to 10-05-2012 during working hours  on payment of Rs. 500/-(Rs. One thousand  only), non refundable in the form of CDR/Pay Order. The tender must be submitted before 10-05-2012 at 1400 hours, after which no tender will be accepted. The tenders will be opened on 10-05-2012 at 1430 hours in presence of the Vendors/ Firms or their representative who wish to attend. 

Note:  Tender documents can be downloaded from GCUF website (www.gcuf.edu.pk) and PPRA website (www.ppra.org.pk) and tender fee will be attached as CDR or Pay Order                             (Non-Refundable) in the favour of the Treasurer, GC University, Faisalabad
 

	Muhammad Mazhar Waseem 

Treasurer /Director Procurement & Inventory Control  

GC University, Faisalabad Allama Iqbal Road Faisalabad

Phone: 041-9201030  Fax: 041-9201468


TENDER DOCUMENTS
FOR THE PURCHASE OF LAB EQUIPMENTS   FOR CHEMISTRY DEPARTMENT





     Annexure “A”

   




Tender Fee Rs. 500/-


Tender No.192
	Sr. #
	Name of Item
	Quantity
	Specification

	1
	Rotary Evaporator with Aspirator

Germany / USA / Japan / U.K or equivalent


	1
	Digital Microprocessor control. 

Rotation speed: 20-280rpm. 

Rotation speed setting: Digital 

Flask Capacity 1000ml. 

Heating bath temperature control: Microprocessor

Volume heating bath: 4 Liters. 

Temperature range heating bath: 180(C. 

Overheat cut off protection:  (190)

Material heating bath: AISI 316L. 

Protection class:  IP 20. 

Motorized lift control, Temperature accuracy: +1 (C. 

Bath temperature setting:  Digital

Supply Voltage: 220VAC, 50Hz. 

Aspirator

Aspirator Pump Capacity: 18 l /min. 

Bath Capacity: 13liters. 

Motor Power: 150W. 

Material of Bath: Polypropylene. 

Material of Aspirator: Metal. 

Safety: Fuse. 

Power source: AC 220V 50/60Hz 0.7A



	2
	Vacuum Pump

Germany / USA / Japan / U.K or equivalent


	1
	Oil less. 

Pumping speed: 20l/min. 

Power 250watt. 

Voltage Rating: 230Vac, 50Hz. 

Temp of the body <55°C. Pump head: PTFE coated. Noise Level 50dB.


	3
	Melting Point Apparatus

Germany / USA / Japan / U.K or equivalent


	1
	Digital microprocessor control. No of samples: 2. Temperature range: 300(C. 
Temperature resolution: 1(C. Temperature accuracy: + 1C at 20(C, + 2.5(C at 300(C. 
Display: LED. Sensor: Platinum resistance PT100. Ramp rates: 20(C per min to plateau, 2(C per minute to melt



	4
	UV Lamp

Germany / USA / Japan / U.K or equivalent


	1
	Compact UV lamp (Handy). Wavelength 254 & 365nm. Power: 220VAC, 50Hz

	5
	Top Loading Balance

Germany / USA / Japan / U.K or equivalent


	1
	Digital Microprocessor Controlled, 

Capacity: 
410gm. Readability: 1mg (0.001g). Tare range: 410 gm. Repeatability: + 1 mg, Linearity: + 2 mg, Response time: 3 Second. Pan size (dia): 120 mm, Calibration: External. Integral Weighing Below Hook, Weighing Units: mg, g, ct, oz, dwt, tical, tola, mommes, baht, grain, mesghal, Newton, ozt, teals, Operating Temp: -10 to +40C, 10 – 80%rH, 
Draft Shield: All glass draught shield with 3 sliding doors, 
Communication: RS232, 
Display: LCD


	6
	Hot Air Oven

Germany / USA / Japan / U.K or equivalent


	1
	Table top, digital, Microprocessor PID controlled with 0 - 9999 minutes or continuous and temperature safety system. Application: For drying and sterilization. Capacity: 53 L Temp range: 220ºC. Temp fluctuation: 2ºC. Display: LCD/LED. Shelves: 2 Nos (adjustable). Electrical: 220 VAC, 50 Hz. Literature: Operation / service manual in English




	            __________________

     Muhammad Mazhar Waseem 

     Treasurer 


	
	Details of Call Deposit/DD/CDR

No.----------------- 

 Amount ----------

Name of Bank-----------------------------

Branch Code with City Name 

-----------------------------------------


	Signature--------------------------------

Name of Bidder

-------------------------------------------

-------------------------------------------

National ID Card No.

-------------------------------------------

Name of Firm with Address

-------------------------------------------

-------------------------------------------

Ph. # ---------------- Cell # ------------


Govt. College University, Faisalabad
(Directorate of Procurement and Inventory Control)
Ph# 041-9201030, Ex#336,341 Fax# 041-9201468

           
DP&IC Office    

E-mail: www.gcuf.edu.pk                                                                                
GCUF/DPIC/192




      
           Date: ___May 2012
INVITATION OF TENDER FOR THE PURCHASE OF LAB EQUIPMENTS   FOR CHEMISTRY  DEPARTMENT

Tender No. 192
  

Purchase Price: Rs.500/-

GENERAL TERMS & CONDITIONS

1.

Sealed Tenders are invited from the firms who are registered with the 
Sales Tax and Income Tax Department for Lab Equipments for                        Chemistry Department, as given in Tender documents (Annexure 'A' attached).

2.
Tender Opening Date


The tender must reach the office of the undersigned on or before 
 10 May 2012 at 1400 hours which will be opened on same day 
at 1430 Hours in the office of the undersigned by the University Technical Purchase Committee in the presence of the firms / authorized representatives who wish to attend.

3.
Call Deposit @2% (earnest money)
a.
The Bank Security Receipt  (original) at the rate of 2% of the tendered amount (refundable) in the form of deposit-at-call according to its value (Cheque not acceptable) in the name of the  Treasurer, GC University, Faisalabad must be attached with the tender without which the tender will not be accepted.

b.
The rates / bids should be inclusive of all Govt. Taxes.

4.
Validity of Offers.


a.
The bids / offers must be valid for atleast 06 months.

b. 
Withdrawal / modification of the original offer within the validity 
period shall entitle the University to forfeit earnest   money.

 
c.
The quantities are adjustable as per actual demands.                 

5. 
Security Deposits.



10 % of bid amount will be paid by the successful bidders as security, which 
shall be retained for one year ors for warranty period which ever is more. 
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6.
Failures and Terminations: 



No offer of a supplier / firm will be considered if:-

            a.
Received without Earnest Money / Call Deposit or less CDR than the required.


b.
Received later than the date and time fixed for tender.


c.
The tender is incomplete in any respect or is unsigned. 


d.
The offer is ambiguous and the offer is conditional.


e.
The offer from of firm which is black listed, by any Govt. Office.


f.
Any erasing cutting / overwriting etc. will not be accepted.


g.
The supplier fails to deliver the consignment within the specified 


delivery period strictly in accordance with the terms and conditions as 

laid down in 
the letter of award; the University is authorized to forfeit 

the earnest money and the firm will be black listed.

7.
Other special condition
            a.
After receipt of the items the inspection will be carried out by the end user department within 15 days.

b.      The decision of the Vice Chancellor of GC University, Faisalabad, would 
be final & binding on both the parties and not challengeable in any 
court of law.


c.
The quantities can be increased / decreased by the Competent 


Authority.


d.
The GCUF reserve the right to reject any or all of the tenders without
            assigning any reason there of.


e.
Catalogue / literature of the equipment/material supplied must be 


enclosed with the equipment / material and make of the country.


f.
All Government Taxes will be deducted according to Govt. rules in 


vogue. 

ISSUED TO

M/S __________________________________

______________________________________


______________________________________






 
   ______________________   
       


Muhammad Mazhar Waseem







        Treasurer
