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      GOVT COLLEGE UNIVERSITY FAISALABAD
          (Directorate of Procurement & Inventory Control)
TENDER NOTICE No. 199 
                            Sealed Tenders are invited from the firms / suppliers of repute, which are registered with Sales Tax and Income Tax Departments for the supply of Lab. Equipments for  Food Sciences Department of  GC University Faisalabad, to be delivered at Campus. Details about quantity and specifications may please be seen in Tender Documents. Tender documents can be obtained from the office of the undersigned from 03-08-2012 to 16-08-2012 during working hours and on payment of Rs. 500/- (Rs. Five Hundred only). The tender must be submitted before 1200 hours on 16-08-2012 and will be opened at 1300 hours on the same day in presence of the Vendors/ Firms or their representative who wish to attend. The bids shall accompany Bid Security in form of a CDR/Bank Draft in the name of Treasurer, GC University, Faisalabad, valuing equal to 2% of the Bid Price. Tender documents can also be downloaded from GCUF website (www.gcuf.edu.pk) and/or PPRA website (www.ppra.org.pk) and, in this case, tender fee will be attached with bid proposal in form of CDR / Bank Draft in the name of Treasurer, GCUF.
(Muhammad Mazhar Waseem)

Director Procurement and Inventory Control 
Allama Iqbal Road Faisalabad, Phone: 041-9201468
      GOVT COLLEGE UNIVERSITY FAISALABAD
          (Directorate of Procurement & Inventory Control)
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       02-08-2012
TENDER NOTICE No.199 
INVITATION OF TENDER FOR THE PURCHASE OF LAB. EQUIPMENTS
Tender No.199
Purchase Price: Rs. 500/-

Sealed Tenders are invited from the firms / suppliers of repute, which are registered with Sales Tax and Income Tax Departments for the supply of Lab. Equipments for Food Sciences Department  of GC University Faisalabad, to be delivered at Campus.
GENERAL TERMS & CONDITIONS

1. Tender Opening Date:
The tender must reach the office of the undersigned on or before 
16 August 2012 at 1200 Hours which will be opened on same day 
at 1300 Hours in the office of the undersigned by the University Purchase/Project Purchase Committee  in the presence of the firms / authorized representatives who wish to attend.
2. Bid Security:
· A Call Deposit Receipt at the rate of 2% of the tendered amount (refundable) (Cheque is not acceptable) in the name of the Treasurer, GC University, Faisalabad must be attached with the tender without which the tender may subject to rejection by the authority concerned.

· The rates / bids should be inclusive of all applicable Govt. Taxes.

3. Validity of Offers.

· Offers shall be valid for at least 60 days from submission of bids.

· Withdrawal / modification of the original offer within the validity period shall entitle the University to forfeit earnest   money.

· The Competent Authority reserves the right to increase or decrease quantities.                 

4. Failures and Terminations: 


No offer of a supplier / firm will be considered if:-

a) Received without Earnest Money / Call Deposit or less CDR than the required.








b) Received later than the date and time fixed for tender.

c) The tender is incomplete in any respect or is unsigned. 

d) The offer is ambiguous and the offer is conditional.

e) The offer from a firm which is black listed at any level.
f)    
Any erasing cutting / overwriting etc. will not be accepted.

g) The supplier fails to deliver the consignment within the specified   delivery  period strictly in accordance with the terms and conditions as laid down in 
the Purchase Order; the University is authorized to forfeit the earnest money if desired and the firm may also be black listed.

5. Other special condition

a) After receipt of the items the inspection will be carried out by the end user department within 15 days.

b) The decision of the Vice Chancellor of GC University, Faisalabad, would be final & binding on both the parties and not challengeable in any court of law.

c) The quantities can be increased / decreased by the Competent Authority.

d) The GCUF reserve the right to reject any or all of the tenders without
assigning any reason there of.

e) Catalogue / literature of the equipment/material supplied must be enclosed with the equipment / material and make of the country.

f) All Government Taxes will be deducted according to applicable rules. 

g) Only sole distributor of manufacturers participate in the tender, quotation of OEM suppliers will be rejected. 
ISSUED TO

M/S---------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------
Muhammad Mazhar Waseem

Director Procurement and 
& Inventor Control

TENDER NOTICE No. 199  
DETAIL SPECIFICATIONS OF LAB. EQUIPMENTS
	Sr. No.
	Name & Specifications
	Quoted Price 

	1

	Centrifuge Machine: 
Digital microprocessor controlled

Large LCD/LED display

Display of time, rpm, rcf

Max speed 6000rpm

Max capacity 4 x 100ml, timer: 1-99min, 

Viewing port in the lid

Angle rotor: capacity 32x15ml with adaptor of 8 x 50ml

Origin: USA, Germany, Japan

Note: Quotation of original manufacturers with authorization letter is required 
	

	2

	Freezer: 
Single compressor, Low energy consumption, Low noise level, 100% HCFC/CFC free, Key lock, castors and baskets, Digital display, Visual and acoustic alarm, Adjustable high/low temperature alarm, Contact for remote alarm, Probe failure alarm, Temperature range: -10~45C, capacity: 475liters, inner dimension: 1500x500x675, WxDxH, interior steel
Origin: USA, Western EU, Japan

Note: Quotation of original manufacturers with authorization letter is required
	


Muhammad Mazhar Waseem

Director Procurement and 
& Inventor Control







