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      GOVT COLLEGE UNIVERSITY FAISALABAD
          (Directorate of Procurement & Inventory Control)
TENDER NOTICE No. 200 
                            Sealed Tenders are invited from the firms / suppliers of repute, which are registered with Sales Tax and Income Tax Departments for the supply of Lab. Equipments for  Food Sciences Department of  GC University Faisalabad, to be delivered at Campus. Details about quantity and specifications may please be seen in Tender Documents. Tender documents can be obtained from the office of the undersigned from 20-09-2012 to 04-10-2012 during working hours and on payment of Rs. 500/- (Rs. Five Hundred only). The tender must be submitted before 1400 hours on 04-10-2012 and will be opened at 1430 hours on the same day in presence of the Vendors/ Firms or their representative who wish to attend. The bids shall accompany Bid Security in form of a CDR/Bank Draft in the name of Treasurer, GC University, Faisalabad, valuing equal to 2% of the Bid Price. Tender documents can also be downloaded from GCUF website (www.gcuf.edu.pk) and/or PPRA website (www.ppra.org.pk) and, in this case, tender fee will be attached with bid proposal in form of CDR / Bank Draft in the name of Treasurer, GCUF.
(JAWEED ANJUM)
Director Procurement and Inventory Control 
Allama Iqbal Road Faisalabad, Phone: 041-9201468
      GOVT COLLEGE UNIVERSITY FAISALABAD
          (Directorate of Procurement & Inventory Control)
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       02-08-2012
TENDER NOTICE No.200 
INVITATION OF TENDER FOR THE PURCHASE OF LAB. EQUIPMENTS
Tender No.200
Purchase Price: Rs. 500/-

Sealed Tenders are invited from the firms / suppliers of repute, which are registered with Sales Tax and Income Tax Departments for the supply of Lab. Equipments for Food Sciences Department  of GC University Faisalabad, to be delivered at Campus.
GENERAL TERMS & CONDITIONS

1. Tender Opening Date:
The tender must reach the office of the undersigned on or before 
04 Oct 2012 at 1400 Hours which will be opened on same day 
at 1430 Hours in the office of the undersigned by the University Purchase/Project Purchase Committee  in the presence of the firms / authorized representatives who wish to attend.
2. Bid Security:
· A Call Deposit Receipt at the rate of 2% of the tendered amount (refundable) (Cheque is not acceptable) in the name of the Treasurer, GC University, Faisalabad must be attached with the tender without which the tender may subject to rejection by the authority concerned.

· The rates / bids should be inclusive of all applicable Govt. Taxes.

3. Validity of Offers.

· Offers shall be valid for at least 60 days from submission of bids.

· Withdrawal / modification of the original offer within the validity period shall entitle the University to forfeit earnest   money.

· The Competent Authority reserves the right to increase or decrease quantities.                 

4. Failures and Terminations: 


No offer of a supplier / firm will be considered if:-

a) Received without Earnest Money / Call Deposit or less CDR than the required.








b) Received later than the date and time fixed for tender.

c) The tender is incomplete in any respect or is unsigned. 

d) The offer is ambiguous and the offer is conditional.

e) The offer from a firm which is black listed at any level.
f)    
Any erasing cutting / overwriting etc. will not be accepted.

g) The supplier fails to deliver the consignment within the specified   delivery  period strictly in accordance with the terms and conditions as laid down in 
the Purchase Order; the University is authorized to forfeit the earnest money if desired and the firm may also be black listed.

5. Other special condition

a) After receipt of the items the inspection will be carried out by the end user department within 15 days.

b) The decision of the Vice Chancellor of GC University, Faisalabad, would be final & binding on both the parties and not challengeable in any court of law.

c) The quantities can be increased / decreased by the Competent Authority.

d) The GCUF reserve the right to reject any or all of the tenders without
assigning any reason there of.

e) Catalogue / literature of the equipment/material supplied must be enclosed with the equipment / material and make of the country.

f) All Government Taxes will be deducted according to applicable rules. 

g) Only sole distributor of manufacturers participate in the tender, quotation of OEM suppliers will be rejected. 
ISSUED TO

M/S---------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------








(JAWEED ANJUM)










Director Procurement  








& Inventory Control

Tender No. 200
Tender Fee 500/-

TENDER DOCUMENTS 
DETAIL SPECIFICATIONS OF LAB. EQUIPMENTS
	1

	Blood Chemistry Analyzer

Sample Types: (Serum, Urine, Plasma. CSF and others). Photometric range: 0 – 3.0 Absorbance Automatic filter selection, 8 wavelengths (340, 415, 510, 546, 578, 600, 660, 700nm), Monochromatic and bichromatic measurement. Detector: Silicon photo-diode. Temperature of flow cell/cuvettes: 20 to 40 degree C in steps of 1degree. Measurement Cuvettes: Cuvettes mode, Flow cell mode, Minimum reaction volume 200 ul. Quality Control: 3 levels of control Intra and inter day Levy Jennings charts, Mean, SD, %CV, R calculations. Light Source: Halogen tungsten lamp with standby mode with life measurement 1000 hours. Printer: Built in thermal printer. 

Origin: USA, Germany, UK, Japan

Note: Quotation of original manufacturers with authorization letter is required

	2
	Backing Line Complete unit with all accessories

Baking oven Microprocessor control of temp upto 300°C. Double wall insulated, hydrophobic painted body and swing system, RPM 50. High temp gasket of silicon. Gas operated automatic gas regulation system. With mixer stainless steel 5 – 10 kg. Multispeed unit with baking dies /moulds at least 35 Nos of S.S 304. Also supplied with complete accessories like cookies trays 35 Nos S.S food grade, Cake pans 24 Nos. with different capacities. S.S food grade, bread pans 20 Nos different sizes S.S food grade. Dough spreaders / rollers 6 Nos with different capacity

Only CE certified, ISO certified and WHO approved manufacturers can participate   


	Details of Call Deposit/DD/CDR

	No.----------------- & Amount -----------

	Name of Bank------------------------------

	Signature----------------------------------------

	Name of Bidder

	---------------------------------------------------
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Director Procurement  
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