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GOVT COLLEGE UNIVERSITY FAISALABAD
          (Directorate of Procurement & Inventory Control)
TENDER NOTICE No. 201 
                            Sealed Tenders are invited from the firms / suppliers of repute, which are registered with Sales Tax and Income Tax Departments for the supply of Upright Florescent Microscope for Department of Wild Life & Fisheries, GC University Faisalabad, to be delivered at University Campus. Details about quantity and specifications may please be seen in Tender Documents. Tender documents can be obtained from the office of the undersigned from 19 November 2012 to 04 December 2012 during working hours on payment of Rs. 500/- (Rs. Five Hundred only). The tender must be submitted before 1200 hours on 04 December 2012 and will be opened at 1400 hours on the same day by the Dean, Faculty of Science & Technology Tender opening/Purchase Committee in presence of the Vendors/ Firms or their representative who wish to attend. The bids shall accompany Bid Security in form of a CDR/Bank Draft in favour of Treasurer, GC University, Faisalabad, valuing equal to 2% of the Bid Cost. Tender documents can also be downloaded from GCUF website (www.gcuf.edu.pk) and/or PPRA website (www.ppra.org.pk) and, in this case, tender fee will be attached with bid proposal in form of CDR / Bank Draft in the name of Treasurer, GCUF.
(JAWEED ANJUM)

Director Procurement and Inventory Control 
Allama Iqbal Road Faisalabad, Phone: 041-9201468
      GOVT COLLEGE UNIVERSITY FAISALABAD
          (Directorate of Procurement & Inventory Control)
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       19 November 2012
TENDER NOTICE No.201 
INVITATION OF TENDER FOR THE PURCHASE OF UPRIGHT FLORESCENT MICROSCOPE
Tender No.201
Purchase Price: Rs. 500/-

Sealed Tenders are invited from the firms / suppliers of repute, which are registered with Sales Tax and Income Tax Departments for the supply of Upright Florescent Microscope for Department of Wild Life & Fisheries, GC University Faisalabad, to be delivered at University Campus.
GENERAL TERMS & CONDITIONS

1. Tender Opening Date:
The tender must reach the office of the undersigned on or before 
04 December 2012 at 1200 Hours which will be opened on same day 
at 1400 Hours in the office of the undersigned by the Dean Faculty of Science &Technology Tender opening/Purchase Committee  in the presence of the firms / authorized representatives who wish to attend.
2. Bid Security:
· A Call Deposit Receipt at the rate of 2% of the tendered amount (refundable) (Cheque is not acceptable) in the name of the Treasurer, GC University, Faisalabad must be attached with the tender without which the tender may be rejected by the authority concerned.

· The rates / bids should be inclusive of all applicable Govt. Taxes.

3. Validity of Offers.

· Offers shall be valid for at least 180 days from the date of submission of bids.

· Withdrawal / modification of the original offer within the validity period shall entitle the University to forfeit earnest   money.

· The Competent Authority reserves the right to increase or decrease quantities.                 

4. Failures and Terminations: 


No offer of a supplier / firm will be considered if:-

a) Received without Earnest Money / Call Deposit or less CDR than the required.








b) Received later than the date and time fixed for tender.

c) The tender is incomplete in any respect or is unsigned. 

d) The offer is ambiguous and the offer is conditional.

e) The offer from a firm which is black listed at any level.
f)    
Any erasing cutting / overwriting etc. will not be accepted.

g) The supplier fails to deliver the consignment within the specified   delivery  period strictly in accordance with the terms and conditions as laid down in 
the Purchase Order; the University is authorized to forfeit the earnest money if desired and the firm may also be black listed.

5. Other special condition

a) After receipt of the items the inspection will be carried out by the end user department within 15 days.

b) The decision of the Vice Chancellor of GC University, Faisalabad, would be final & binding on both the parties and not challengeable in any court of law.

c) The quantities can be increased / decreased by the Competent Authority.

d) The GCUF reserve the right to reject any or all of the tenders without
assigning any reason there of.

e) Catalogue / literature of the equipment/material supplied must be enclosed with the equipment / material and origin of the country.

f) All Government Taxes will be deducted according to applicable rules. 

g) Only sole distributor of manufacturers can participate in the tender, quotation of OEM suppliers shall be rejected. 
ISSUED TO

M/S--------------------------------------------------------------------------------------------------
-------------------------------------------------------------------------------------------------------
                                  JAWEED ANJUM
 Director Procurement and 
                                                                                             & Inventor Control

TENDER NOTICE No. 201  
DETAIL SPECIFICATIONS OF UPRIGHT FLORESCENT MICROSCOPE
	S/N
	Name & Specifications
	Quoted Price 

	1.

	TRINOCULAR RESEARCH FLUORESCENCE MICROSCOPE With Digital Camera.
Optical System CFI 160 Optical system, High Luminescent White LED Illuminator (Eco-illumination) with fly- eye lens boast a long life time of 60,000 Image capture button on main body of Microscope, Trinocular tube F.O.V.25, Eyepiece10X Pair UW, C-N Sextuple Nosepiece ,Rectangular Mechanical Stage, Cross travel 78x 54mm ,stage handle height and torque adjustable-C abbe Condenser N.A 0.9 
Objective Flat field 4X N.A 0.10,W.D 30.mm,10X N.A.0.25, W.D7.0mm,LWD 20X N.A 0.40,W.D.3.9mm, 40x N.A 0.65, W.D 0.65mm, 100X oil N.A 1.25,W.D 0.23mm , CI-Fl Epi- fluorescence attachment, 4 filter cubes mountable,ND4,ND8,ND16, C-FC collector lens, FL centering Tool, Lamp House HMX-3B,C-LHGI mercury lamp with Socket,C-SHGi power supply-FL Epi-Fl Filter Cube NB-2A, and NG-2A 
All in one Digital camera system with 5 mega pixel and Effective pixels min.4 mega pixels, Large 6.5 to 7.5 inches LCD monitor, still allowing connection to PC Via Lan Network and Extra monitor. High definition Touch Panel monitor with wide Variety of tools, like Measurement Function, Position and Size Comparison function, Drawing Function. CCD 2/3 in: high Density, Recorded Pixels: 2560x 1920,1280 x 960 , 640 x 480. Live display mode: 2560 x 1920 (max. 10fps), 1280 x 960 (max. 21 fps) ROI mode (max. 37 fps). Exposure time: 150µsec to 80 sec. 

	


                                 JAWEED ANJUM
 Director Procurement and 
                                                                                                       Inventory Control






