| Sr. No. | Specifications (Existing) | Specifications (Amended) |  | Quantity |
| --- | --- | --- | --- | --- |
| 3 | UV/Vis Dual Beam Spectrophotometer: Wavelength range: 190—1100 nm Spectral bandwidth: Fix 1.4 nm | Wavelength range: 190—900 nm Spectral bandwidth: < 1.5 nm |  | 3 |
| 4 | FTIR Spectrometer (Bench-Top): Spectral range: 6,000 to 500 cm-1 with Zn Se beamsplitter Interferometer: RockSolid , permanent aligned, High stability Detector: DigiTect detector system, high sensitivity room temperature, Spectroscopy software: OPUS or equivalent: easy-to-use, full GLP compliant, Integrated Platinum-ATR-accessory, Diamond, 1 bounce, QuickLock Specifications: - Diamond crystal, single reflection, edged in tungsten carbide - Work disk: stainless steel - Spectral range: 10-8,000cm-1 - Ergonomic one-finger clamp mechanism - Pressure control - Working distance (max. sample height) >20mm - Easy cleaning due to the rotatable pressure applicator - Exchangeable crystal plates (Diamond, Ge) - Purgeable and sealed beam path - Sample compartment cover adapted for Platinum-ATR-accessory. | Spectral range: 6,000 – 500 cm-1 with Zinc Selenide Optics Interferometer: permanently aligned, High stability Detector: Highly sensitive, room temperature Spectroscopy software: Included, Easy-to-use, Complete package ATR-accessory, Diamond |  | 1 |
| 9 | Glass Distillation Unit, Complete with Mountable Accessories: Output: 20 ltr/hr | Output: 4 Ltr/hr or above |  | 3 |
| 10 | Electronic/Analytical Balance (Four Digit): Digital, Capacity upto 250 grams Readability: 0.001 mg, Linearity: ±0.002 mg, Calibration: External | 10A | Analytical Balance: Capacity: 220 grams or above, Readability: 0.001 g, Linearity: ±0.002 g, Calibration: Internal/External | 6 |
|  |  | 10B | Analytical Balance: Capacity: 220 grams or above, Readability: 0.0001 g, Linearity: ±0.0002 g, Calibration: Internal/External | 4 |