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     GOVERNMENT COLLEGE UNIVERSITY FAISALABAD

TENDER DOCUMENT No. 007/2017


SUPPLY OF EQUIPMENT FOR DEPARTMENT OF PHYSICS
          (HEC Funded Project), GCUF.
Purchase Price: Rs. 500/-
Sealed Tenders are invited from the well reputed firms / suppliers, who are registered with Sales Tax and Income Tax Department as Active Tax Payer for Purchase of Equipment for Department of Physics (HEC Project), GCUF. 
GENERAL TERMS & CONDITIONS
1. Tender Opening Date & Procedure: 
The procurement shall be completed in accordance with Punjab Procurement Rules 2014,                     on Single Stage - Two Envelope Bidding Procedure. 
Bids in complete conformity with Tender Documents will be dropped in Tender Box placed at Procurement Department of the GCUF, not later than 10:00 Hrs on 05.10. 2017 which shall be opened on same day at 10:30 Hours.

Note:  Tender Number must be mentioned on envelope.
2. Tender Fee, Bid Security and Performance Security: 
The Bid must be accompanied by Tender Fee of Rs:500/- in shape of  Call Deposit Receipt (CDR) in original and Bid Security of 2% of Estimated Price of Rs.19000000/-  (refundable) in shape of Call Deposit Receipt (CDR) in original. CDRs must be in favor of PI, Government College University, Faisalabad. The rates / bids should be inclusive of all applicable Govt. Taxes. 

3. Validity of Offers. 
i. Offers shall be valid for 180 days from the date of submission of bids. 
ii.  Withdrawal / modification of the original offer within the validity period shall entitle the University to forfeit Bid Security. 
iii. Sales Tax Number and NTN Number must be mentioned on the letter head and bidding documents.


4.         Failures and Terminations: 
No offer of a supplier / firm will be considered if:- 

a) Bid received without Bid Security / Call Deposit or less CDR than the required. 

b) Bids received not in accordance with specifications of Tender Documents. 

c) Bid received later than the date and time fixed for tender. 

d) Tender is incomplete in any respect or is unsigned. 

e) Offer is ambiguous and the offer is conditional. 

f) Offer from a firm which is black listed at any level. 

g) Any erasing / cutting / overwriting etc. 

h) The supplier fails to deliver the consignment within specified delivery period strictly in accordance with the terms and conditions as laid down in the Purchase Order. 

i) Situation warranted, then University is authorized to forfeit the bid Security and the firm may also be black listed. 

5. Other special conditions 
I. The decision of the Vice Chancellor of Government College University, Faisalabad, would be final & binding on both the parties. 

II. 10% performance security applicable under the rules shall be deducted from the final bill of the successful bidder as per PPRA Rules 2014. 
III. All Government Taxes will be deducted according to applicable rules. 

IV. The University may reject all bids/proposals at any time prior to the acceptance of a bid or proposal as per PPRA Punjab rule 35, however upon bidder request the ground of rejection will be communicated to the concerned but no justification will be given as per PPRA rule 35 (2).

Dr. Khalid Mahmood
Principal Investigator
Department of Physics, Government College University Faisalabad
ISSUED TO:
M/S-----------------------------------------------------------------------------------------------------------------

-----------------------------------------------------------------------------------------------------------------------
Appendix “A”

TENDER NOTICE No. 007 / 2017

SUPPLY OF EQUIPMENT FOR DEPARTMENT OF PHYSICS (HEC Project), GCUF.
	Sr.No.
	Items with  Specification or Equivalent
	QTY
	Unit Price Including Taxes
	Total Cost

	1. 
	Confocal Raman Spectrometer  
1. Two lasers with wavelengths 785 nm and 632.8nm

2. . Microscope based sample chamber

3. 2 objective lenses

4. Motorized stage

5. visualisation and spectrum measurement modes
6. Motorized selectable 11 Neutral filters

7. 3 gratings included 600gr/mm / 1200gr/mm / 2400gr/mm
8. High precision Harmonic drive with precision measurement system
9. Laser coupling optics to the spectrograph, Automated mechanical shutter for preventing sample damage

10. Spectral resolution : Average 2.1cm-1/CCD pixel @1200gr/mm, 650 nm

11. Mapping capability 
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	2. 
	Benchtype SEM
1.Magnification; 20x-200000x

2.Resolution; 3nm

3.Accelerating voltage; 500V-30KV

4. Detector; SE

5. EDX detector 
6.Vacuum System : - Automated Evacuation System

Turbo molecular pump, Rotary vane pump, Electrical valve system (compressor NOT required)

7.Vacuum Mode : High Vacuum Mode (< 9x10-3 Pa)

8.Working Distance : 0~20mm
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	Total Amount (Rs.)
	


Note: 
Rate should also be quoted on Firm’s letter head pad.
	
	Details of Call Deposit Receipt (CDR)
	Signature______________________________
	

	
	No______________ Amount___________
	Name of Bidder_________________________
	

	
	Bank______ Branch_____ City__________
	CNIC No ______________________________
	


Name of the Firm & Address _____________________________Ph No_____________________
N.T.No. _____________________________Sales Tax No._________________________________

Issued By:


     


Dr. Khalid Mahmood


PI


Department of Physics, GC University Faisalabad


03009678458











