GOVERNMENT COLLEGE UNIVERSITY FAISALABAD

TENDER DOCUMENT No. PHEC/ARA/PIRCA/20183/6

Supply of Lab Equipment for the Department of Biochemistry under PHEC Project NO. PHEC/ARA/PIRCA/20183/6, entitled “Formulation of Novel synbiotic feed supplement (SFS) for improved growth and meat quality of chicks”

Tender Fee: Rs. 1000/-

Sealed Tenders are invited from the well-reputed firms/suppliers, who are registered with Tax Departments for the supply of Lab Equipment for PHEC project No.PHEC/ARA/PIRCA/20183/6, entitled “Formulation of Novel synbiotic feed supplement (SFS) for improved growth and meat quality of chicks” at Department of Biochemistry, GCUF.

GENERAL TERMS & CONDITIONS

- 1. Tender Opening Date & Procedure:

1.1	The procurement shall be completed in accordance with Punjab

1.2	Procurement Rules 2014, on Single Stage - Two Envelope Bidding Procedure.

1.3	Bids in complete conformity with Tender Documents will be dropped in Tender Box placed at the office of undersigned, not later than 18.10.2022 on11:00 A.M which shall be opened on same day at 11:30 A.M in Treasurer’s Office.

Note:

- Tender Number must be mentioned on envelope.

- Both Technical and financial proposal shall be written on the letter head of the company/ firm along with other prescribed documents.

- All pages of the bid must be properly counter signed.

- 2. Tender Fee, Bid Security and Performance Security:

2.1 	The Bid must be accompanied by Tender Fee of Rs:1000/- (nonrefundable) in shape of Call Deposit Receipt (CDR) in original and Bid Security of 2% of Estimated Price of Rs.1,200,000/- (refundable) in shape of Call Deposit Receipt (CDR) in original.

2.2	CDRs must be in favor of Treasurer, Government College University, Faisalabad. The rates / bids should be inclusive of all applicable Govt. Taxes.

- 3. Validity of Offers.

  - Offers shall be valid for 120 days from the date of submission of bids.

  - Withdrawal / modification of the original offer within the validity period shall entitle the University to forfeit Bid Security.

  - Sales Tax Number and NTN Number must be mentioned on the letter head and bidding documents.

- 4.Failures and Terminations:

No offer of a supplier / firm will be considered if: -

      - 4.1	Bid received without Bid Security / Call Deposit or less CDR than the required.

      - 4.2	Bids received not in accordance with specifications of Tender Documents.

      - 4.3	Bid received later than the date and time fixed for tender.

      - 4.4	Tender is incomplete in any respect or is unsigned.

      - 4.5	Offer is ambiguous and the offer is conditional.

      - 4.6	Offer from a firm which is blacklisted at any level.

      - 4.7	 Any erasing / cutting / overwriting etc.

4.8	If offer is not accompanied by Authorization letter from the manufacturer specific to this tender.

      - 4.9	The supplier fails to deliver the consignment within specified delivery period strictly in accordance with the terms and conditions as laid down in the Purchase Order.

      - 4.10	Situation warranted, then University is authorized to forfeit the bid Security and the firm may also be blacklisted.

- 5. Other special conditions:

  - The decision of the Vice Chancellor of Government College University, Faisalabad, would be final & binding on both the parties and not challengeable in any court of law.

  - 10% performance security under the rules shall be deducted from the final bill of the successful bidder as per PPRAx Rules 2014 and shall be released upon successful completion of warranty period of a minimum 1 year.

  - All Government Taxes will be deducted according to applicable rules.

5.4 The University may reject all bids/proposals at any time prior to the acceptance of a bid or proposal as per PPRA Punjab rule 35, however upon bidder request the ground of rejection will be communicated to the concerned but no justification will be given as per PPRA rule 35 (2).

Dr. Shagufta Kamal

Principal Investigator

Project No. PHEC/ARA/PIRCA/20183/6

Department of Biochemistry

Government College University, Faisalabad

Phone no. 03456097374

Appendix”A”

TENDER DOCUMENT No. PHEC/ARA/PIRCA/20183/6

| Sr. No. | Item | Specification OR Equivalent | Quantity | Unit Price including taxes (PKR) | Total Price |
| --- | --- | --- | --- | --- | --- |
| 1 | Refrigerated Centrifuge | - Rotor capacity: 12 × 1.5/2.0 mL - Max. speed: 14,100 × g (14,500 rpm) - Extremely compact footprint - Acceleration and deceleration time < 13 s - User-friendly digital display for time and speed - Metal rotor bowl - Separate short-spin key for fast and comfortable centrifugation - Optimal ventilation flow reduces heating and protects temperature-sensitive samples - Soft-touch lid closure for ergonomic lid locking - Automatic lid opening at the end of the run to prevent sample warming and to allow easy access to samples - Automatic rpm/rcf conversion - Extended time to 99 min or continous centrifugation - Display LCD - Noise level <52 dB(A) - Power supply 230 V, 50 – 60 Hz - Origin: USA/EUROPE - Manufacturer should have CE certifications | 01 |  |  |
| Total Amount |  |  |  |  |  |

Please contact Dr. Shagufta Kamal, Principal Investigator for any inquiry regarding the specification of Tender.

Details of Call Deposit Receipt (CDR) 			Signature_____________________

No. ________________ Amount _____________    Name ofBidder_______________

Bank________Branch___________City_______	NIC No ________________________

Name of Frim& Address_____________________________ Ph. No. ________________

N.T.No._____________________________	Sales Tax No. __________________________

Issued By:

Dr. Shagufta Kamal

Principal Investigator

Project No. PHEC/ARA/PIRCA/20183/6

Department of Biochemistry

Government College University, Faisalabad

Phone no. 0345-6097374